PUNCH LIST

NORTHERN STAR BUILDERS

────────────────────────────────────────────────────────────────────────

| Project: | Lakeview Condominiums Phase 2 | Project #: | LCP2-2024-012 |
| --- | --- | --- | --- |
| Unit/Area: | Building C, Units 301-310 | Date: | March 1, 2025 |
| Target Completion: | March 21, 2025 | GC: | Northern Star Builders |

Owner/Developer: Lakeview Development Partners LLC

Inspector: Project Manager, Jennifer Walsh

Architect: Lakeside Architecture, Kevin Yamamoto

PUNCH LIST ITEMS

| # | Location | Description | Responsible | Status |
| --- | --- | --- | --- | --- |
| 1 | Unit 301 - Kitchen | Cabinet door alignment - upper left | Northern Star | Open |
| 2 | Unit 301 - Master Bath | Grout missing at shower floor tile corner | Northern Star | Open |
| 3 | Unit 302 - Living Room | Paint touch-up needed at window trim | Northern Star | Open |
| 4 | Unit 303 - Entry | Door threshold gap exceeds tolerance | Northern Star | Open |
| 5 | Unit 304 - Kitchen | Dishwasher not level; adjust feet | Northern Star | Open |
| 6 | Unit 305 - Bedroom 2 | Electrical outlet plate missing | Peak Electric | Open |
| 7 | Unit 306 - Master Bath | Hot/cold reversed at sink faucet | Mountain Plumbing | Open |
| 8 | Unit 306 - Balcony | Sliding door track debris; clean and lubricate | Northern Star | Open |
| 9 | Unit 307 - Kitchen | Range hood vent not connected to duct | Northern Star | Open |
| 10 | Unit 308 - Hallway | Baseboard nail pop at south wall | Northern Star | Open |
| 11 | Unit 308 - Master Bath | Exhaust fan not operational | Peak Electric | Open |
| 12 | Unit 309 - Living Room | Window screen torn, replace | Northern Star | Open |
| 13 | Unit 309 - Bedroom 1 | Closet shelf bracket loose | Northern Star | Open |
| 14 | Unit 310 - Kitchen | Countertop chip near sink cutout | Northern Star | Open |
| 15 | Unit 310 - Entry | Deadbolt alignment off - difficult to lock | Northern Star | Open |

NOTES

All items must be completed by Northern Star Builders or designated subcontractors by March 21, 2025. Walsh and Yamamoto will conduct a follow-up walk-through upon completion. Northern Star is responsible for coordinating all trades.

ACKNOWLEDGED BY

___________________________________

Walsh, Project Manager

___________________________________

Yamamoto, Architect

___________________________________

Northern Star Builders