REQUEST FOR INFORMATION (RFI)

────────────────────────────────────────────────────────────────────────

| Project: | Harbor Point Office Complex | Project #: | HPOC-2023-015 |
| --- | --- | --- | --- |
| RFI #: | RFI-042 | Date: | February 18, 2025 |
| Priority: | Urgent | Response Needed By: | February 25, 2025 |
| Subject: | Structural steel connection detail at Grid Line J-7, Level 3 |  |  |

FROM (CONTRACTOR)

BAYSIDE CONSTRUCTION GROUP

450 Harbor Way, San Francisco, CA 94105

Submitted by: Site Superintendent, Miguel Santos

TO (ARCHITECT)

Sterling Architecture + Design

1200 Design Center Drive, San Francisco, CA 94107

QUESTION

Drawing S-301 shows a moment connection at Grid Line J-7, Level 3, but the connection detail referenced (Detail 5/S-501) does not appear in the current structural drawing set. Bayside Construction Group requests clarification on the following:

1. Please provide the correct connection detail for the W14x90 beam to W12x72 column connection at Grid Line J-7.
2. Confirm whether a bolted or welded connection is specified.
3. Provide any supplemental plate or stiffener requirements.

Santos has confirmed that steel erection at this location is scheduled to begin February 26, 2025. Bayside requests Sterling Architecture provide a response by the requested date to avoid schedule impact on the Harbor Point Office Complex project.

RESPONSE (ARCHITECT)

[To be completed by Sterling Architecture + Design]

___________________________________

Architect Signature / Date